Install ni-daqmx

Check that it sees the NI USB module

Install digiCamControl

Open digiCamControl, go to settings, activate webserver, should be port 5513, restart digiCamControl

On DigiCamControl, set it to save only on camera

Make sure camera is on Manual mode and Manual Focus. Check that the focus is ok for the setup. Select appropriate focal length, and exposure time

Run Matlab app